# NOTICE OF REQUEST FOR PROPOSALS CITY OF ALLIANCE

AIRPORT WINDOW REPLACEMENT

The City of Alliance is hereby soliciting proposals for window replacement at the Alliance Municipal Airport.

Contractor Responsibilities

The City of Alliance is requesting proposals to remove and replace existing exterior windows at the Alliance Airport Terminal Building, 5631 Sarpy Road, Alliance, NE 69301. The proposal shall include all costs for labor, materials, and equipment to remove and replace existing exterior windows.

All workmanship and materials shall be in accordance with the requirements of Section 08 41 13 Aluminum-Framed Storefronts and Section 08 80 00 Glazing attached to this RFP.

A map of the proposed window replacement locations is attached to this RFP for reference.

All contractors submitting a proposal shall be required to visually inspect the existing windows and site conditions prior to submitting a proposal. The contractor shall contact Lynn Placek with Alliance Municipal Airport (308-762-4512) to schedule an appointment to visually inspect the site.

The contractor shall fully inform themselves of the project site, site conditions, and the surrounding area. The contractor shall familiarize themselves of the requirements of working on an operating airport and understands the conditions that may in any manner affect costs, progress, or performance of the work.

The contractor shall submit a construction schedule and proposed start date to the city for approval a minimum of 7 calendar days prior to construction operations commencing.  The plan shall include hours/days of operation. The contractor shall not be permitted  in the terminal building or airside operation areas without an airport staff escort.

The contractor shall be required to provide insurance coverage in accordance with the requirements listed in this RFP. Copies of all insurance coverages shall be provided to  the city a minimum of 7 calendar days prior to beginning work.

The contractor shall be required to submit a current Department of the Treasury Internal Revenue Service Form W-9 to the City for approval prior to any construction operations commencing.

The contractor shall comply with all federal, state, and local building requirements for removal and installation of the windows.

Contractor’s Payment Unit Pricing Schedule – Payment for this item shall be based on the unit bid prices as indicated below.

# Base Quote Window Replacement

Window

| Type | Description | Quantity | Unit | Unit Price | Total |
| --- | --- | --- | --- | --- | --- |
| A | 50” x 72-1/2” East | 3 | Each | $ | $ |
| B | 50” x 72-1/2” East | 3 | Each | $ | $ |
| C | 50” x 72-1/2” South Safety Glazing | 3 | Each | $ | $ |
| D | 50” x 72-1/2” South Safety Glazing | 1 | Each | $ | $ |
| E | 50” x 72-1/2” South Safety Glazing | 1 | Each | $ | $ |
| F | 50” x 72-1/2” South Safety Glazing | 3 | Each | $ | $ |
| H | 50” x 72-1/2” West | 1 | Each | $ | $ |
| I | 40-7/8” x 48” West | 1 | Each | $ | $ |
| J | 50” x 72-1/2” West | 1 | Each | $ | $ |
| K | 50” x 72-1/2” North | 1 | Each | $ | $ |
| L | 50” x 72-1/2” North | 3 | Each | $ | $ |
| M | 32-7/8” x 33” North | 3 | Each | $ | $ |
| N | 40-7/8”x 33” North | 2 | Each | $ | $ |
|  |  |  | TOTAL | Items A - N | $ |

ANTICIPATED START DATE

ANTICIPATED COMPLETION DATE

The City of Alliance reserves the right to increase/decrease project quantities depending on funding availability.

The contractor will be required to submit invoices for all material and workmanship accepted by the Owner in accordance with the rate schedule above. All invoicing shall indicate the item number, description, number of units installed, unit price per item, subtotal of each unit, total invoice cost, time, date, and location for each area of work.

Payment of all invoices received shall be reviewed for approval by the City of Alliance at their regularly scheduled Council Meetings. Unless otherwise specified, the Owner will make payment in full within thirty (30) calendar days after final acceptance of the equipment.

Insurance Requirements

Each bidder shall provide insurance coverage for all work. The limits of liability for the insurance shall provide coverage for not less than the following amounts or greater where required by Laws and Regulations:

- Workers’ Compensation, and related coverages:

  - State:	Statutory

  - Applicable Federal

(e.g., Longshoreman’s):	Statutory

  - Employer’s Liability:	$500,000

- Contractor’s General Liability shall include completed operations and product liability coverages and eliminate the exclusion with respect to property under the care, custody, and control of Contractor:

| a. General Aggregate | $1,000,000 |
| --- | --- |
| b. Products - Completed Operations Aggregate | $1,000,000 |
| c. Personal and Advertising Injury | $1,000,000 |
| d. Each Occurrence (Bodily Injury and Property Damage) | $1,000,000 |

- Excess or Umbrella Liability

| 1) General Aggregate | $1,000,000 |
| --- | --- |
| 2) Each Occurrence | $1,000,000 |
| 3. Automobile Liability: |  |
| a. Bodily Injury: Each person | $1,000,000 |
| Each Accident | $1,000,000 |
| b. Property Damage: Each Accident | $1,000,000 |
| c. Combined Single Limit of | $1,000,000 |

- The Contractual Liability coverage for not less than the following amounts:

  - Bodily Injury:

Each Person	$1,000,000

Each Accident	$1,000,000

  - Property Damage:

Each Accident	$1,000,000

Annual Aggregate	$1,000,000

Additional Contractor Requirements

REMOVALS. All removed items are the sole responsibility of the contractor and shall be removed from airport property. The contractor shall provide weather tight containers for all removal items. Any loose items shall be cleaned up immediately to prevent items from entering air operation areas.

WARRANTY. The Equipment Vendor guarantees that any defective component discovered within a twelve (12) month period following the date of the final acceptance shall be replaced at no expense to the Owner.  The warranty for this period shall cover all parts, labor, and shipping costs for the repair and replacement of any defective component. The Owner agrees to give prompt notice of any discovered defect. The Equipment Vendor shall promptly, without undue delay, remedy such defects. The Equipment Vendor shall serve as the Owner’s agent for service under any standard manufacturer warranty.

Interested firms should submit one copy of their proposed payment unit pricing no later than 1:00 PM (Mountain Time), March 4, 2026:

City of Alliance

P.O. Box D

324 Laramie Avenue

Alliance, NE 69301

Attn:	Lynn Placek – Alliance Airport Director

Prospective bidders must submit their proposal to arrive at the office location identified within this RFP at the specified time and date for receipt of bids. The owner will not give consideration to any proposal received after the specified time.  The owner will return late proposals in an unopened manner to the return address identified on the envelope.

Prospective bidders shall enclose their proposal in a sealed opaque envelope. The upper left-hand corner of the envelope shall be marked as follows:

Sealed Bid Proposal

Bid of: {Insert Name of Bidder}

For construction improvements at Alliance Municipal Airport, Alliance, NE

Alliance Project:   Airport Window Replacement/Invitation Number 2-5-2026

To be delivered by:  1:00 PM (Mountain Time), March 4, 2026

SECTION 08 41 13 – ALUMINUM-FRAMED STOREFRONTS PART 1 - GENERAL

  - SUMMARY

    - Section Includes:

      - Aluminum-framed storefront systems.

  - ACTION SUBMITTALS

    - Submittals shall be provided to the owner prior to ordering materials.

    - Product Data: For each type of product provide product data prior to ordering.

      - Construction details, material descriptions, dimensions of individual components and profiles, and finishes.

    - Shop Drawings:

      - Plan and elevations.

    - Samples for Verification: Actual sample of finished products for each type of exposed finish.

      - Size: Manufacturers' standard size, but not less than 2” x 3”.

  - INFORMATIONAL SUBMITTALS

    - Energy Performance Certificates: For aluminum-framed entrance and storefront systems, accessories, and components, from manufacturer.

      - Basis for Certification: NFRC-certified energy performance values for each aluminum-framed entrance and storefront system.

    - Product Test Reports: For aluminum-framed entrance and storefront systems, for tests performed by a qualified testing agency or by the manufacturer and witnessed by a qualified testing agency.

    - Qualification Statements:

      - For Installer.

  - CLOSEOUT SUBMITTALS

    - Operation and Maintenance Data: For aluminum-framed entrance and storefront systems.

  - QUALITY ASSURANCE

    - Installer Qualifications:

      - Fabricator of products and entity that employs installers and supervisors who are trained and approved by manufacturer.

  - WARRANTY

    - Special Warranty: Installer agrees to repair or replace components of aluminum-framed entrance and storefront systems that fail in materials or workmanship within specified warranty period.

      - Failures include, but are not limited to, the following:

        - Structural failures.

        - Faulty operation of seals (air and water) or operable components (if applicable).

        - Deterioration of metals, metal finishes, and other materials beyond normal weathering and use.

      - Warranty Period: one year from date of acceptance of work by the owner.

PART 2 - PRODUCTS

  - SOURCE LIMITATIONS

    - Obtain all components of aluminum-framed storefront system, including framing and accessories, from a single manufacturer.

  - PERFORMANCE REQUIREMENTS

    - General Performance: Comply with performance requirements specified, as determined by testing of aluminum-framed entrance and storefront systems representing those indicated for this Project without failure due to defective manufacture, fabrication, installation, or other defects in construction.

      - Aluminum-framed storefront systems to withstand movements of supporting structure, including, but not limited to, twist, column shortening, long-term creep, and deflection from uniformly distributed and concentrated live loads.

      - Failure also includes the following:

        - Thermal stresses transferring to building structure.

        - Glass breakage.

        - Noise or vibration created by wind and thermal and structural movements.

        - Loosening or weakening of fasteners, attachments, and other components.

        - Failure of operating units.

      - Installer shall be responsible for proper attachments to existing adjacent work. If the window installer has any concerns or questions about connections to existing work or wants to confirm conditions and install methods with the owner, they shall discuss the process prior to bidding.

      - Installer shall provide provisions for assembly expansion and contraction and for draining moisture occurring within the assembly to the exterior.

      - Installer shall provide connection to and continuity with adjacent thermal, weather, air, and vapor barriers.

    - Structural Loads:

      - Wind Loads: Shall be congruent with IBC 2018, ASCE 7-16

        - Basic Wind Speed, V: 115 mph (ultimate level)

        - Exposure: C

        - Risk Category: II

    - Deflection of Framing Members Supporting Glass: At design wind load, as follows:

      - Deflection Normal to Wall Plane: Limited to 1/175 of length of span of the framing member for lengths of up to 13 feet 6 inches and to 1/240 of length of span of the framing member plus 1/4 inch for lengths greater than 13 feet 6 inches.

      - Deflection Parallel to Glazing Plane: Limited to amount not exceeding that which reduces glazing bite to less than 75 percent of design dimension and that which reduces edge clearance between framing members and glazing or other fixed components to less than 1/8 inch.

        - Operable Units: Provide a minimum 1/16-inch clearance between framing members and operable units.

    - Structural: Test in accordance with ASTM E330/E330M as follows:

      - When tested at positive and negative wind-load design pressures, storefront assemblies, including entrance doors, do not evidence deflection exceeding specified limits.

      - When tested at 150 percent of positive and negative wind-load design pressures, storefront assemblies, including entrance doors and anchorage, do not evidence material failures, structural distress, or permanent deformation of main framing members exceeding 0.2 percent of span.

      - Test Durations: As required by design wind velocity, but not less than 10 seconds.

    - Water Penetration: No water shall penetrate into the building through the storefronts.

    - Energy Performance: Certified and labeled by manufacturer for energy performance as

follows:

      - Thermal Transmittance (U-factor):

        - Fixed Glazing and Framing Areas: U-factor for the system of not more than

0.38 Btu/sq. ft. x h x deg F as determined in accordance with NFRC 100.

      - Solar Heat-Gain Coefficient (SHGC):

        - Fixed Glazing and Framing Areas: SHGC for the system of not more than as determined in accordance with NFRC 200.

      - Air Leakage:

        - Fixed Glazing and Framing Areas: Air leakage for the system of not more than 0.06 cfm/sq. ft. at a static-air-pressure differential of 6.24 lbf/sq. ft. when tested in accordance with ASTM E283.

      - Condensation Resistance Factor (CRF):

        - Fixed Glazing and Framing Areas: CRF for the system of not less than 55 as determined in accordance with AAMA 1503.

    - Thermal Movements: Allow for thermal movements resulting from ambient and surface temperature changes.

      - Temperature Change: 120 deg F, ambient; 180 deg F, material surfaces.

      - Allow for thermal movements resulting from ambient and surface temperature changes.

  - ALUMINUM-FRAMED STOREFRONT SYSTEMS

    - Manufacturers: Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

      - Arcadia Inc.

      - Kawneer Company, Inc.

      - Manko Window Systems, Inc.

      - Tubelite Inc.

      - YKK AP American, Inc.

        - Basis of Desired Products: Thermally Broken Storefronts: Kawneer Trifab 451 UT Framing System.

    - Framing Members: Manufacturer's extruded- or formed-aluminum framing members of thickness required and reinforced as required to support imposed loads.

      - Exterior Framing Construction: Thermally broken.

      - Glazing System: Retained mechanically with gaskets on four sides.

      - Glazing Plane: Center.

      - Finish: Clear Anodized Aluminum finish.

      - Fabrication Method: Field-fabricated stick system.

      - Aluminum: Alloy and temper recommended by manufacturer for type of use and finish indicated.

      - Steel Reinforcement: As required by manufacturer.

    - Backer Plates: Manufacturer's standard, continuous backer plates for framing members, if not integral, where framing abuts adjacent construction.

    - Brackets and Reinforcements: Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning system components.

  - GLAZING

    - Glazing: Comply with Section 088000 "Glazing."

    - Glazing Gaskets: Manufacturer's standard sealed-corner pressure-glazing system of black, resilient elastomeric glazing gaskets, setting blocks, and shims or spacers.

    - Glazing Sealants: As recommended by manufacturer.

    - Weatherseal Sealants: ASTM C920 for Type S; Grade NS; Class 25; Uses NT, G, A, and O; chemically curing silicone formulation that is compatible with structural sealant and other system components with which it comes in contact; recommended by structural-sealant, weatherseal-sealant, and structural-sealant-glazed storefront manufacturers for this use.

      - Color: Match structural sealant.

  - MATERIALS

    - Sheet and Plate: ASTM B209.

    - Extruded Bars, Rods, Profiles, and Tubes: ASTM B221.

    - Structural Profiles: ASTM B308/B308M.

    - Steel Reinforcement:

      - Structural Shapes, Plates, and Bars: ASTM A36/A36M.

      - Cold-Rolled Sheet and Strip: ASTM A1008/A1008M.

      - Hot-Rolled Sheet and Strip: ASTM A1011/A1011M.

    - Steel Reinforcement Primer: Manufacturer's standard zinc-rich, corrosion-resistant primer complying with SSPC-PS Guide No. 12.00; applied immediately after surface preparation and pretreatment. Select surface preparation methods in accordance with recommendations in SSPC-SP COM, and prepare surfaces in accordance with applicable SSPC standard.

  - ACCESSORIES

    - Fasteners and Accessories: Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

      - Use self-locking devices where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration.

      - Reinforce members as required to receive fastener threads.

      - Where unavoidable use exposed fasteners with countersunk Phillips screw heads, finished to match framing system.

    - Anchors: Three-way adjustable anchors with minimum adjustment of 1 inch that accommodate fabrication and installation tolerances in material and finish compatible with adjoining materials and recommended by manufacturer.

      - Concrete and Masonry Inserts: Hot-dip galvanized cast-iron, malleable-iron, or steel inserts complying with ASTM A123/A123M or ASTM A153/A153M requirements.

    - Concealed Flashing: Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding flashing compatible with adjacent materials.

    - Bituminous Paint: Cold-applied asphalt-mastic paint containing no asbestos, formulated for 30-mil thickness per coat.

    - Rigid PVC filler.

    - Accessory Brake Metal Trims: Provide matching brake metal trims to trim out existing supports and framing around and between new storefronts.

  - FABRICATION

    - Form or extrude aluminum shapes before finishing.

    - Weld in concealed locations to greatest extent possible to minimize distortion or discoloration of finish. Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

    - Fabricate components that, when assembled, have the following characteristics:

      - Profiles that are sharp, straight, and free of defects or deformations.

      - Accurately fitted joints with ends coped or mitered.

      - Physical and thermal isolation of glazing from framing members.

      - Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

      - Provisions for field replacement of glazing from interior.

      - Fasteners, anchors, and connection devices that are concealed from view to greatest extent possible.

    - Mechanically Glazed Framing Members: Fabricate for flush glazing without projecting

stops.

    - Storefront Framing: Fabricate components for assembly using screw-spline system.

    - After fabrication, clearly mark components to identify their locations in Project in accordance with Shop Drawings.

  - ALUMINUM FINISHES

    - Color Anodic Finish: AA-M10C21A41, Class I, 0.0177 mm or thicker.

PART 3 - EXECUTION

  - EXAMINATION

    - Examine areas, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

    - Proceed with installation only after unsatisfactory conditions have been corrected.

  - INSTALLATION OF ALUMINUM-FRAMED ENTRANCE AND STOREFRONT SYSTEMS

    - Comply with manufacturer's written instructions.

    - Do not install damaged components.

    - Fit joints to produce hairline joints free of burrs and distortion.

    - Rigidly secure nonmovement joints.

    - Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration and to prevent impeding movement of moving joints.

    - Seal perimeter and other joints watertight unless otherwise indicated.

    - Metal Protection:

      - Where aluminum is in contact with dissimilar metals, protect against galvanic action by painting contact surfaces with materials recommended by manufacturer for this purpose or by installing nonconductive spacers.

      - Where aluminum is in contact with concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

    - Set continuous sill members and flashing in full sealant bed to produce weathertight installation.

    - Install joint filler behind sealant as recommended by sealant manufacturer.

    - Install components plumb and true in alignment with established lines and grades.

    - Install glazing as specified in Section 088000 "Glazing."

  - ERECTION TOLERANCES

    - Install aluminum-framed storefront systems to comply with the following maximum tolerances:

      - Plumb: 1/8 inch in 10 feet; 1/4 inch in 40 feet.

      - Level: 1/8 inch in 20 feet; 1/4 inch in 40 feet.

      - Alignment:

        - Where surfaces abut in line or are separated by reveal or protruding element up to 1/2 inch wide, limit offset from true alignment to 1/16 inch.

        - Where surfaces are separated by reveal or protruding element from 1/2 to 1 inch wide, limit offset from true alignment to 1/8 inch.

        - Where surfaces are separated by reveal or protruding element of 1 inch wide or more, limit offset from true alignment to 1/4 inch.

      - Location: Limit variation from plane to 1/8 inch in 12 feet; 1/2 inch over total length.

END OF SECTION 08 41 13

SECTION 08 80 00 - GLAZING PART 1 - GENERAL

  - SUMMARY

    - Section Includes:

      - Glass products.

      - Insulating glass.

      - Glazing tapes.

      - Miscellaneous glazing materials.

  - DEFINITIONS

    - Glass Manufacturers: Firms that produce primary glass, fabricated glass, or both, as defined in referenced glazing publications.

    - Glass Thicknesses: Indicated by thickness designations in millimeters in accordance with ASTM C1036.

    - IBC: International Building Code.

    - Interspace: Space between lites of an insulating-glass unit.

  - COORDINATION

    - Coordinate glazing channel dimensions to provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances to achieve proper safety margins for glazing retention under each design load case, load case combination, and service condition.

  - ACTION SUBMITTALS

    - Product Data: For each type of product.

    - Glass Samples: For each type of the following products; 12 inches square.

      - Coated glass.

      - Insulating glass.

    - Glazing Schedule: List glass types and thicknesses for each size opening and location.

  - INFORMATIONAL SUBMITTALS

    - Product Certificates: For glass.

    - Preconstruction adhesion and compatibility test report.

    - Sample Warranties: For special warranties.

  - DELIVERY, STORAGE, AND HANDLING

    - Protect glazing materials in accordance with manufacturer's written instructions. Prevent damage to glass and glazing materials from condensation, temperature changes, direct exposure to sun, or other causes.

    - Comply with insulating-glass manufacturer's written instructions for venting and sealing units to avoid hermetic seal ruptures due to altitude change.

  - FIELD CONDITIONS

    - Environmental Limitations: Do not proceed with glazing when ambient and substrate temperature conditions are outside limits permitted by glazing material manufacturers and when glazing channel substrates are wet from rain, frost, condensation, or other causes.

      - Do not install glazing sealants when ambient and substrate temperature conditions are outside limits permitted by sealant manufacturer or are below 40 deg F.

  - WARRANTY

    - Manufacturer's Special Warranty for Coated-Glass Products: Manufacturer agrees to replace coated-glass units that deteriorate within specified warranty period. Deterioration of coated glass is defined as defects developed from normal use that are not attributed to glass breakage or to maintaining and cleaning coated glass contrary to manufacturer's written instructions. Defects include peeling, cracking, and other indications of deterioration in coating.

      - Warranty Period: 5 years from date of Acceptance.

    - Manufacturer's Special Warranty for Laminated Glass: Manufacturer agrees to replace laminated-glass units that deteriorate within specified warranty period. Deterioration of laminated glass is defined as defects developed from normal use that are not attributed to glass breakage or to maintaining and cleaning laminated glass contrary to manufacturer's written instructions. Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.

      - Warranty Period: 5 years from date of Acceptance.

    - Manufacturer's Special Warranty for Insulating Glass: Manufacturer agrees to replace insulating-glass units that deteriorate within specified warranty period. Deterioration of insulating glass is defined as failure of hermetic seal under normal use that is not attributed to glass breakage or to maintaining and cleaning insulating glass contrary to manufacturer's written instructions. Evidence of failure is obstruction of vision by dust, moisture, or film on interior surfaces of glass.

      - Warranty Period: Five years from date of Acceptance.

PART 2 - PRODUCTS

  - SOURCE LIMITATIONS

    - Source Limitations for Glass: Obtain tinted or coated glass from single source from single manufacturer.

    - Source Limitations for Glazing Accessories: For each product and installation method, obtain from single source from single manufacturer.

  - PERFORMANCE REQUIREMENTS

    - General: Installed glazing systems shall withstand normal thermal movement and wind and impact loads (where applicable) without failure, including loss or glass breakage attributable to defective manufacture, fabrication, or installation; failure of sealants or gaskets to remain watertight and airtight; deterioration of glazing materials; or other defects in construction.

    - Structural Performance: Glazing shall withstand the following design loads within limits and under conditions indicated determined in accordance with the IBC and ASTM E1300:

      - Design Data as specified in section 08 41 13.

      - Maximum Lateral Deflection: For glass supported on all four edges, limit center- of-glass deflection at design wind pressure to not more than 1/50 times the short- side length or 1 inch, whichever is less.

      - Thermal Loads: Design glazing to resist thermal stress breakage induced by differential temperature conditions and limited air circulation within individual glass lites and insulated glazing units.

    - Safety Glazing: Where safety glazing is indicated, provide glazing that complies with 16 CFR 1201, Category II.

      - Safety Glazing Locations:

        - Glazing in all doors or operable units.

        - Glazing within 24" of a door or other operable panel.

        - Glazing where all of the following apply: The exposed area of an individual pane is greater than 9 square feet; the bottom edge of the glazing is less

than 18 inches above the floor; the top edge of the glazing is greater than 36 inches above the floor, there is one or more walking surfaces within 36 inches of the plane of the glazing.

        - Glazing faces the airside of operations.

    - Thermal and Optical Performance Properties: Provide glass with performance properties specified, as indicated in manufacturer's published test data, based on procedures indicated below:

      - For monolithic-glass lites, properties are based on units with lites 6 mm thick.

      - For insulating-glass units, properties are based on units of thickness indicated for overall unit and for each lite.

      - U-Factors: Center-of-glazing values, in accordance with NFRC 100 and based on most current non-beta version of LBL's WINDOW computer program, expressed as Btu/sq. ft. x h x deg F.

      - SHGC and Visible Transmittance: Center-of-glazing values, in accordance with NFRC 200 and based on most current non-beta version of LBL's WINDOW computer program.

      - Visible Reflectance: Center-of-glazing values, in accordance with NFRC 300.

  - GLASS PRODUCTS, GENERAL

    - Glazing Publications: Comply with published recommendations of glass product manufacturers and organizations below unless more stringent requirements are indicated. See these publications for glazing terms not otherwise defined in this Section or in referenced standards.

      - IGMA Publication for Insulating Glass: SIGMA TM-3000, "North American Glazing Guidelines for Sealed Insulating Glass Units for Commercial and Residential Use."

    - Safety Glazing Labeling: Where safety glazing is indicated, permanently mark glazing with certification label of the SGCC or another certification agency acceptable to authorities having jurisdiction. Label shall indicate manufacturer's name, type of glass, thickness, and safety glazing standard with which glass complies.

    - Thickness: Where glass thickness is indicated, it is a minimum. Provide glass that complies with performance requirements and is not less than thickness indicated.

      - Minimum Glass Thickness for Exterior Lites: 6 mm.

    - Strength: Where annealed float glass is indicated, provide annealed float glass, heat- strengthened float glass, or fully tempered float glass as needed to comply with "Performance Requirements" Article. Where heat-strengthened float glass is indicated, provide heat-strengthened float glass or fully tempered float glass as needed to comply with "Performance Requirements" Article. Where fully tempered float glass is indicated, provide fully tempered float glass.

  - GLASS PRODUCTS

    - Clear Annealed Float Glass: ASTM C1036, Type I, Class 1 (clear), Quality-Q3.

      - Manufacturers: Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

        - Cardinal Glass Industries, Inc.

        - Guardian Glass LLC

        - Saint-Gobain Glass Corp

        - Vitro Architectural Glass

    - Fully Tempered Float Glass: ASTM C1048, Kind FT (fully tempered), Condition A (uncoated) unless otherwise indicated, Type I, Class 1 (clear) or Class 2 (tinted) as indicated, Quality-Q3.

      - Fabrication Process: By horizontal (roller-hearth) process with roll-wave distortion parallel to bottom edge of glass as installed unless otherwise indicated.

      - Coat exterior applications with low-E coating to meet SHGC required by IECC and this specification.

    - Heat-Strengthened Float Glass: ASTM C1048, Kind HS (heat strengthened), Type I, Condition A (uncoated) unless otherwise indicated, Type I, Class 1 (clear) or Class 2 (tinted) as indicated, Quality-Q3.

    - Reflective- and Low-E-Coated Vision Glass: ASTM C1376.

      - Manufacturers: Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

        - Cardinal Glass Industries, Inc.

        - Guardian Glass LLC

        - Saint-Gobain Glass Corp

        - Vitro Architectural Glass

  - INSULATING GLASS

    - Insulating-Glass Units: Factory-assembled units consisting of sealed lites of glass separated by a dehydrated interspace, qualified in accordance with ASTM E2190.

      - Sealing System: Dual seal, with manufacturer's standard primary and secondary sealants.

      - Desiccant: Molecular sieve or silica gel, or a blend of both.

  - GLAZING SEALANTS

    - General:

      - Compatibility: Compatible with one another and with other materials they contact, including glass products, seals of insulating-glass units, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

      - Suitability: Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.

      - Colors of Exposed Glazing Sealants: As selected by Owner from manufacturer's full range of industry colors.

  - GLAZING TAPES

    - Back-Bedding Mastic Glazing Tapes: Preformed, butyl-based, 100 percent solids elastomeric tape; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; and complying with ASTM C1281 and AAMA 800 for products indicated below:

      - AAMA 806.3 tape, for glazing applications in which tape is subject to continuous pressure.

    - Expanded Cellular Glazing Tapes: Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; and complying with AAMA 800 for the following types:

      - AAMA 810.1, Type 1, for glazing applications in which tape acts as primary sealant.

      - AAMA 810.1, Type 2, for glazing applications in which tape is used in combination with a full bead of liquid sealant.

  - MISCELLANEOUS GLAZING MATERIALS

    - General: Provide products of material, size, and shape complying with referenced glazing standard, recommended in writing by manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.

    - Cleaners, Primers, and Sealers: Types recommended by sealant or gasket manufacturer.

    - Setting Blocks:

      - EPDM, Neoprene, or Silicone with Shore A durometer hardness of 85, plus or minus 5.

      - Type recommended in writing by sealant or glass manufacturer.

    - Spacers:

      - Neoprene, EPDM, or Silicone blocks or continuous extrusions of hardness required by glass manufacturer to maintain glass lites in place for installation

indicated.

      - Type recommended in writing by sealant or glass manufacturer.

    - Edge Blocks:

      - EPDM, Silicone, or Neoprene with Shore A durometer hardness per manufacturer's written instructions.

      - Type recommended in writing by sealant or glass manufacturer.

    - Compressible Filler Rods: Closed-cell or waterproof-jacketed rod stock of synthetic rubber or plastic foam, flexible and resilient, with 5-10 psi compression strength for 25 percent deflection.

  - FABRICATION OF GLAZING UNITS

    - Fabricate glazing units in sizes required to fit openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.

      - Allow for thermal movements from ambient and surface temperature changes acting on glass framing members and glazing components.

        - Temperature Change: 120 deg F, ambient; 180 deg F, material surfaces.

    - Clean-cut or flat-grind vertical edges of butt-glazed monolithic lites to produce square edges with slight chamfers at junctions of edges and faces.

    - Grind smooth and polish exposed glass edges and corners.

PART 3 - EXECUTION

  - EXAMINATION

    - Examine framing, glazing channels, and stops, with Installer present, for compliance with the following:

      - Manufacturing and installation tolerances, including those for size, squareness, and offsets at corners.

      - Presence and functioning of weep systems.

      - Minimum required face and edge clearances.

      - Effective sealing between joints of glass-framing members.

    - Proceed with installation only after unsatisfactory conditions have been corrected.

  - PREPARATION

    - Clean glazing channels and other framing members receiving glass immediately before

glazing. Remove coatings not firmly bonded to substrates.

    - Examine glazing units to locate exterior and interior surfaces. Label or mark units as needed so that exterior and interior surfaces are readily identifiable. Do not use materials that leave visible marks in the completed Work.

  - GLAZING, GENERAL

    - Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.

    - Protect glass edges from damage during handling and installation. Remove damaged glass from Project site and legally dispose of off Project site. Damaged glass includes glass with edge damage or other imperfections that, when installed, could weaken glass, impair performance, or impair appearance.

    - Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction testing.

    - Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications, unless otherwise required by glass manufacturer. Set blocks in thin course of compatible sealant suitable for heel bead.

    - Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.

    - Provide spacers for glass lites where length plus width is larger than 50 inches.

      - Locate spacers directly opposite each other on both inside and outside faces of glass. Install correct size and spacing to preserve required face clearances, unless gaskets and glazing tapes are used that have demonstrated ability to maintain required face clearances and to comply with system performance requirements.

      - Provide 1/8-inch- minimum bite of spacers on glass and use thickness equal to sealant width. With glazing tape, use thickness slightly less than final compressed thickness of tape.

    - Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and in accordance with requirements in referenced glazing publications.

    - Set glass lites in each series with uniform pattern, draw, bow, and similar characteristics.

    - Set glass lites with proper orientation so that coatings face exterior or interior as specified.

    - Where wedge-shaped gaskets are driven into one side of channel to pressurize sealant or gasket on opposite side, provide adequate anchorage so gasket cannot walk out

when installation is subjected to movement.

    - Square cut wedge-shaped gaskets at corners and install gaskets in a manner recommended by gasket manufacturer to prevent corners from pulling away; seal corner joints and butt joints with sealant recommended in writing by gasket manufacturer.

  - TAPE GLAZING

    - Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.

    - Install tapes continuously, but not necessarily in one continuous length. Do not stretch tapes to make them fit opening.

    - Cover vertical framing joints by applying tapes to heads and sills first, then to jambs. Cover horizontal framing joints by applying tapes to jambs, then to heads and sills.

    - Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped. Seal joints in tapes with compatible sealant approved by tape manufacturer.

    - Do not remove release paper from tape until right before each glazing unit is installed.

    - Apply heel bead of elastomeric sealant.

    - Center glass lites in openings on setting blocks, and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings.

    - Apply cap bead of elastomeric sealant over exposed edge of tape.

  - GASKET GLAZING (DRY)

    - Cut compression gaskets to lengths recommended by gasket manufacturer to fit openings exactly, with allowance for stretch during installation.

    - Insert soft compression gasket between glass and frame or fixed stop so it is securely in place with joints miter cut and bonded together at corners.

    - Installation with Drive-in Wedge Gaskets: Center glass lites in openings on setting blocks,and press firmly against soft compression gasket by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings. Compress gaskets to produce a weathertight seal without developing bending stresses in glass. Seal gasket joints with sealant recommended in writing by gasket manufacturer.

    - Installation with Pressure-Glazing Stops: Center glass lites in openings on setting blocks, and press firmly against soft compression gasket. Install dense compression

gaskets and pressure-glazing stops, applying pressure uniformly to compression gaskets. Compress gaskets to produce a weathertight seal without developing bending stresses in glass. Seal gasket joints with sealant recommended in writing by gasket manufacturer.

    - Install gaskets so they protrude past face of glazing stops.

  - SEALANT GLAZING (WET)

    - Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances and to prevent sealant from extruding into glass channel and blocking weep systems until sealants cure. Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.

    - Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.

    - Tool exposed surfaces of sealants to provide a substantial wash away from glass.

  - CLEANING AND PROTECTION

    - Immediately after installation, remove nonpermanent labels and clean surfaces.

    - Protect glass from contact with contaminating substances resulting from construction operations. Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less than once a month, for buildup of dirt, scum, alkaline deposits, or stains.

      - If, despite such protection, contaminating substances do contact with glass, remove substances immediately as recommended in writing by glass manufacturer. Remove and replace glass that cannot be cleaned without damage to coatings.

    - Remove and replace glass that is damaged during construction period.

  - INSULATING GLASS SCHEDULE

    - Low-E-Coated, Clear Insulating Glass Type at all exterior glass:

      - Basis-of-Design Product: Vitro Solarban 60 or approved equal.

      - Overall Unit Thickness: 1 inch.

      - Minimum Thickness of Each Glass Lite: 6 mm.

      - Outdoor Lite: Annealed, at all fixed units where not otherwise specified to require safety glazing. Fully tempered float glass where safety glazing is required.

      - Interspace Content: Air.

      - Indoor Lite: Annealed, where safety glazing is not otherwise specified. Fully tempered float glass where safety glazing is required.

      - Low-E Coating: Sputtered on second surface.

      - Visible Light Transmittance: 70 percent minimum.

      - SGHC: Per IECC Requirements.

      - Safety glazing required.

END OF SECTION 08 80 00

PAGE INTENTIONALLY LEFT BLANK

M	M	M

K	L	L	L

Bathrooms	N	N

J

TSA

A

I

TSA

A

Lobby	Airport Manager

Office	A

TSA

H

Denver Air Connect

B

B

Conference Room

B

F	F	F	E

D	C	C

C	C	C

AIR SIDE

AIR SIDE	G	G

N	GRAPHIC SCALE

0	8	16	24	32